## Flammable Materials
Health, Safety, Environment
Focus Audit
Flammable Material Storage
% TOTAL COMPLIANCE
PERMIT NUMBER:
CONTRACTOR: CRAFT: |  | AREA: |  |  | DATE:
AUDITOR NAME: |  | AUDITOR SIGNATURE:
ITEM TO VERIFY |  | Acceptable | Unacceptable | N/A | Comments
Please provide comment(s) if unacceptable
1 | Storage areas identified
2 | Flammables (Sprays/Aerosols) in Proper Flammable storage Cabinet
3 | Ventilation Provided
4 | Tanks physically protected
5 | Tanks > 20’ from buildings
6 | 20 lb ext. near storage area
7 | No smoking/open flame signage posted at fuel / compressed gas / flammable material storage areas
8 | Products identified
9 | Areas clear of combustibles
10 | Safety fuel cans used
11 | Environmental spill kit
Pressurized Cylinders
12 | 20’ separation or firewall between O2 and fuels
13 | Cylinders returned to storage area when not in use
14 | Regulators removed after use
15 | Stored upright and capped
| TOTAL SCORE | 0 | 0
Enter 1 in cell, acceptable, unacceptable, N/A
90% TO 100% = EXCELLENT --- 80% to 89% = REGULAR (Should improve) ---- Less than 80% = POOR (Should improve quickly)
Comments |  |  |  |  | Rev 0