## Dropped Objects
Health, Safety, Environment
Focus Audit
Dropped Objects Prevention
|  | % TOTAL COMPLIANCE |  |  | 100%
PERMIT NUMBER:
CONTRACTOR: Wayward CRAFT: Ironworkers |  | AREA: CA15 |  |  | DATE: April 24 2020
AUDITOR NAME: Curtis Gowler |  | AUDITOR SIGNATURE:
ITEM TO VERIFY |  | Acceptable | Unacceptable | N/A | Comments
Please provide comment(s) if unacceptable
1 | Have areas been identified where working at an elevation could present the potential for dropped objects? | X
2 | Are necessary precautions taken when workers are handling tools, equipment, and materials at heights or on elevated work surfaces? | X
3 | Have the hazards of working at elevation been addressed adequately on the field level risk assessment? (F.L.R.A.) | X |  |  | Yes, all 4 FLHA's were adequetly addressed.
4 | Has the potential for dropped objects been addressed on the F.L.R.A.? | X |  |  | All 4 FLHAs addressed dropped objects.
5 | Has the F.L.R.A. been reviewed by supervision and signed? | X |  |  | All FLHA's iin headache trailer 100% signed off
6 | Do workers understand the importance of reporting drop objects to prevent injuries or incidents from occurring? | X |  |  | Discussion with 4 Wayward workers knew the responsibility with reporting a dropped object.
7 | Has the work area been appropriately barricaded and tagged at each level where a dropped object could impact? | X |  |  | Red rope around area with tags.
8 | Is the hazard area large enough based on the assessed hazards and potential risks? | X
9 | Is there adequate signage installed around the work area to warn others of elevated work in the area? | X |  |  | Signage was easy to read and was placed in strategic locations.
10 | Are hazard areas kept clear of other workers or contractors who do not have permission to enter? | X
11 | Have elevated working surfaces been prepared with appropriate coverings based on the hazard assessment, such as plywood, to prevent dropped objects from passing through? | X |  |  | Webbed grating on the lift. All objects in lift too big to pass through.
12 | Are open holes, slots on other penetrations covered appropriately, secured and clearly marked? |  |  | X
13 | Are Aerial Work Platforms prepared with sturdy floor coverings in the basket to prevent objects from passing through grating? | X |  |  | Webbed grating on the lift. All objects in lift too big to pass through.
14 | Does the company have a dropped objects prevention program? | X |  |  | Yes, separate dropped object checklist.
15 | Have workers been trained in tool retention techniques and applications? | X |  |  | Worker demonstrated tool retention.
16 | Are hand tools, and equipment prepared for tool retention lanyards? | X
17 | Are tool retention lanyards being utilized by workers? | X |  |  | The audit showed that they were.
18 | Are all tool lanyards equipped with locking carabineers? | X |  |  | All tools attached to carabiners while in the lift.
19 | Are tool lanyards and tool belt attachment points in good condition? | X |  |  | The audit proved that they were.
20 | Are tools, equipment, or materials being raised or lowered using a “Gin Wheel” or rope? |  |  | X | Not using
21 | Is the “Gin Wheel” rope or hoisting rope free from fraying, kinking, knots, cuts, and splaying? |  |  | X | Not using
TOTAL SCORE |  | 18 | 0 | 100%
90% TO 100% = EXCELLENT --- 80% to 89% = Requires Coaching ---- Less than 80% = Requires additional plan for improvement
Additional Comments:
Good conversation with workers at ground level and also the ones heading up in the lift. Conversation with two foreman regarding dropped objects. All workers compliant with dropped objects program. All workers in lift were wearing 3 ply facemasks.