## Scaffold Erection
Health, Safety, Environment
Focus Audit
Scaffold Erection, Use, and Inspection
% TOTAL COMPLIANCE
PERMIT NUMBER:
CONTRACTOR: CRAFT: |  | AREA: |  |  | DATE:
AUDITOR NAME: |  | AUDITOR SIGNATURE:
ITEM TO VERIFY |  | Acceptable | Unacceptable | N/A | Comments
Please provide comment(s) if unacceptable
1 | Has the F.L.R.A. for the scaffold build or dismantle been reviewed by supervision and signed?
2 | Have the hazards of working at elevation been addressed adequately on the field level risk assessment? (F.L.R.A.)
3 | Has the potential for dropped objects been sufficiently addressed on the F.L.R.A.?
4 | Are employees who erect and dismantle scaffolds qualified and competent?
5 | Has the contractor established a process to verify competency?
6 | Do workers understand the importance of reporting drop objects to prevent injuries or incidents from occurring?
7 | Has the work area been appropriately barricaded and tagged at each level where a dropped object could impact?
8 | Is the hazard area large enough based on the assessed hazards and potential risks?
9 | Is there adequate signage installed around the work area to warn others of the erection or dismantle process?
10 | Have the scaffold workers been properly instructed by the supervisor on the build requirements?
11 | Has an approved base / footing been provided (mudsills, concrete floors, spanning between beams, not on grating)?
12 | Are scaffold decks complete and secured?
13 | Has the scaffold (1.5 m (5ft) and over) been installed with guardrails and/or mid-rails at the appropriate height?
14 | Are scaffolds free of defects and built per specifications?
15 | Is documentation on file for scaffolding requiring engineered design?
16 | Are all access openings equipped with a swing gate or similar protection?
17 | Are there a sufficient number of access / egress points for the scaffold?
18 | Are tools, equipment, or materials being raised or lowered using a “Gin Wheel” or rope?
19 | Is the “Gin Wheel” rope or hoisting rope free from fraying, kinking, knots, cuts, and splaying?
20 | Are sturdy hoisting bags or hoisting buckets being used to hoist and store tools, equipment or materials while working at elevation?
21 | Are open holes, slots, on other penetrations covered appropriately, secured and clearly marked?
22 | Is overhead protection provided on scaffolds and elevated work surfaces where there is a potential exposure to dropped objects?
23 | Are toe-boards properly installed on scaffolds to prevent dropped objects?
24 | Are tools, equipment, and materials properly secured while working on scaffolds or elevated work surfaces?
25 | Is the housekeeping on scaffolds or other elevated working surfaces maintained and free from garbage, debris, or other potential dropped objects?
26 | Has the scaffold been tagged properly to site requirements?
27 | Has supervision completed a post-task inspection of the scaffold to ensure the scaffold has been installed correctly?
28 | Are scaffolds inspected on a 14 day basis and a database or log retained?
TOTAL SCORE |  | 0 | 0
90% TO 100% = EXCELLENT --- 80% to 89% = Requires Coaching ---- Less than 80% = Requires additional plan for improvement
Additional Comments: